## Calibration of MRX1205 - ISI
Form for calibration of PT INR using
|  |  | MRX943 PT Quick reagent and MRX1205 PT 6-Level calibrator |  |  |  |  | Revision: 2017 04 21
| PT Quick MRX943, Lot No: |  | Expiration date:
Calibrator Level | Calibrator Lot No | PT replicate no 1 (s) | PT replicate no 2 (s) | Mean value PT (s) | INR | Log Mv results | Log INR
1 |  | 13.6 | 13.6 | 13.6 | 1 | 1.1335 | 0
2 |  | 16.8 | 16.6 | 16.7 | 1.3 | 1.2227 | 0.11394
3 |  | 29.1 | 30.7 | 29.9 | 2.2 | 1.4757 | 0.34242
4 |  | 35 | 35.2 | 35.1 | 2.5 | 1.5453 | 0.39794
5 |  | 60 | 59.9 | 59.95 | 4.2 | 1.7778 | 0.62325
6 |  | 73.9 | 72.8 | 73.35 | 5.2 | 1.8654 | 0.716
RESULTS
MNPT: | 13.218
ISI: | 0.95645
Instructions & notes
Note: Only YELLOW fields are editable.
Instructions:
1. Determine PT clotting time in duplicates for all levels and insert results in seconds in columns PT replicate 1 and PT replicate 2. In case a level is not determined, state value as blank (NOT 0)
2. Insert INR values stated on the vial label for each level in the column INR.
In the RESULTS field ISI and MNPT are automatically calculated.
Equations used :
INR = (Mean Value PT/MNPT)ISI
MNPT = 10^y-intercept
ISI = 1/slope